Workplace Safety Inspection Checklist

BUTLER AREA SCHOOL DISTRICT

Workplace Safety Committee

110 Campus Lane

Butler, PA  16001

724-287-8721

Inspection Site Location

____________________________________________			Safety Inspection Completed_____________________

____________________________________________

____________________________________________		                Signature:____________________________________

| Inspection Questions | Yes ( | No ( | Comments / Recommendations |
| --- | --- | --- | --- |
| CLASSROOM / OFFICE SAFETY |
| Are aisles and walkways clear of obstructions and debris? |  |  |  |
| Are electrical cords and wires on equipment in good repair, free from cuts, abrasions or splices, which may cause accidental shock? |  |  |  |
| Are electrical cords and wires routed so as not to create tripping hazards? |  |  |  |
| Are file cabinets secure? (Open top drawer slowly and see if it might tip towards you) |  |  |  |
| Are desks arranged to eliminate tripping hazards? |  |  |  |
| Does general housekeeping appear to be good? |  |  |  |
| Is all equipment in good condition, free of sharp corners, jagged edges or splinters? |  |  |  |
| Are mechanical guards provided on equipment? |  |  |  |
| Are electrical fans equipped with fan blade guards completely enclosing blades with openings of no more than a half-inch? |  |  |  |
| Does lighting appear to be adequate to reduce accidents? |  |  |  |
| Are employees aware of the location of fire extinguishers and fire alarms in their area? |  |  |  |
| Are employees aware of primary and secondary exit routes from their areas? |  |  |  |
| Are televisions secure on carts and/or wall mounts? |  |  |  |
| Is there an 18” clearance of space around and below sprinkler system heads? |  |  |  |
| EXITS, STAIRS AND DOORS |
| Are all exits free of obstructions and readily accessible? |  |  |  |
| Are all exits marked with exit signs and lighted? |  |  |  |
| Are all exit doors easily operated? |  |  |  |
| Are stairs covered with anti-slip surfaces? |  |  |  |
| Are handrails in stairways and on ramps in good condition and securely fastened? (Grip handrail and see if it is loose.) |  |  |  |
| Are all full-length, clear glass doors and windows marked to avoid people walking into them? |  |  |  |
| Are stairway doors kept closed when not in use? |  |  |  |
| Are elevators maintained and serviced on a regular schedule? (Check for certificate: passenger once every quarter / freight once every 6 months) |  |  |  |
| Are all fire extinguishers inspected monthly and maintained? (Check tag for monthly inspection / Check gauge for maintenance) (Tags should not be more than a year old) |  |  |  |
| WALKING / WORKING SURFACES |
| Are all areas free of holes and obstructions that might cause tripping and falling accidents? |  |  |  |
| Does exterior lighting appear to be adequate and in good operating condition? |  |  |  |
| Are all floors in good repair, clean and reasonably dry? |  |  |  |
| Are all nonskid mats, grating, etc., in use and in good repair? |  |  |  |
| Do all railings appear to be in good condition? |  |  |  |
| STORAGE / SUPPLIES |
| Are all cleaning supplies neatly stored? |  |  |  |
| Are all spray bottles labeled with their content? |  |  |  |
| Are only non-flammable cleaning materials used? |  |  |  |
| Are flammable chemicals stored properly in approved containers and/or steel cabinets? |  |  |  |
| Is there at least a 30” clearance around boilers, hot water tanks, pumps, generators & electrical panels? |  |  |  |